OPTIMIZATION OF PUMPING SCHEME IN A POLLUTED FRACTURED AQUIFER USING GENETIC ALGORITHMS

# Y.N. Kontos* and K.L. Katsifarakis

Division of Hydraulics and Environmental Engineering,

Dept. of Civil Engineering, A.U.Th,

GR- 54124 Thessaloniki, Macedonia, Greece

*Corresponding author: e-mail: ykontos@civil.auth.gr, tel : +302310995634

Abstract

Optimization of the pumping scheme of a polluted fractured aquifer has been studied. Two circular pollution plumes may affect the water quality of two production wells, while two fractures, one almost perpendicular and one almost parallel to the flow lines, may accelerate pollutant transport. The optimization task is to find the location and the flow rate of two additional pumping wells that avert, retard or pump the plumes, achieving minimization of the sum of main cost items, namely pumping, pipe network and pumped polluted water remediation costs. Genetic algorithms are used as the optimization tool. To alleviate the computational load, a simplified two-dimensional groundwater flow model is implemented and a moving point code is used to simulate advective mass transport. Moreover, we assume that fractures affect pollutant transport only. Such simplifications may raise questions regarding the accuracy of the overall results. For this reason, we have adopted certain safety counter-measures, such as the virtual lengthening of the fractures and the instant spread of pollutants along them.

The quality of the results is also influenced by the GA parameters, such as crossover and mutation probability. For this reason, we have undertaken an extensive set of tests, to identify the best combination for our problem. Our results did not verify the practical rule of setting mutation probability equal to the inverse of the chromosome length, since the best results were achieved with substantially larger mutation probability values. We have also investigated the range of the coefficients of the penalty function, which has been used in order to guarantee observance of the problem constraints. Finally, we have stressed the importance of an a-posteriori check of the results of the optimization process, which might allow elimination of unpractical features of the respective solutions.

Keywords

moving points; aquifer pollution; fractured aquifer; genetic algorithms; groundwater management

1. INTRODUCTION

Optimal management of groundwater resources is a common problem worldwide, especially as both population and per capita water consumption keep growing, while water quality is gradually compromised by human-induced pollution. Hydrodynamic control of pollution plumes, which threaten production wells, could be achieved using additional pumping, that may retard, avert or even pump polluted water. Fractured flow fields present additional difficulties, since fractures may facilitate pollutants’ spread. This paper deals with optimal development of polluted aquifers, bearing few fractures of known geometrical characteristics. The aim is to maintain the quality and the flow rate of the existing production wells, using additional wells for hydrodynamic control of pollutant plumes. The objective function includes the main cost items, namely pumping cost, pipe network amortization cost and pumped polluted water remediation cost. Following Kontos et al (2010) each fracture is simulated as one-dimensional high speed runway for water and pollutant particles, not affecting hydraulic head distribution. Cases of low and high pollutant treatment cost are studied. Genetic algorithms are used as optimization tool. To alleviate the computational load, a 2-D groundwater flow is implemented combined with a moving point code for advective mass transport simulation. The balance between accuracy and computational efficiency leans towards the latter. The computational tools and the aquifer studied are outlined in the following paragraphs.

2. FLOW FIELD AND SIMULATION MODELS

A horizontal, steady state flow in an infinite, confined, homogeneous, isotropic aquifer is studied. As shown in Figure 1a, two pollutant plumes may affect production wells 1 and 2, which pump in total 250 l/s. Additional wells, pumping up to 120 l/s each, may be used for hydrodynamic control of the plumes. The aquifer bears 2 fractures, the first almost perpendicular to the expected flow lines between Plume 1 and well 1 and the second almost parallel to the flow lines between Plume 2 and well 2. The main aquifer features are: hydraulic conductivity K=10-4 m/s, thickness a=50 m and porosity n=0.2. The features of wells, fractures and plumes are presented in Table 1.

Since early investigations, when Snow (1965) and Long et al (1982) used generic numerical 2-D discrete fractures networks (DFN) simplifying flow calculations, the study of fractured aquifers still presents a lot of difficulties (e.g. Papadopoulou et al, 2010). The basic assumption made in this paper, is that fractures do not affect the hydraulic head distribution (Kontos et al, 2010). This allows use of analytical formulas for hydraulic head and velocity calculations outside the fractures (e.g. Bear, 1979). Advective pollutant transport is simulated using a simple particle tracking code (Katsifarakis et al, 2009). Sixteen ‘checkpoints’ are symmetrically placed on each circular plume’s perimeter, to serve as starting-points for polluted particles of infinitesimal mass. Their trajectories simulate the course of the plume. The study period, which is equal to the pollutant deactivation period (1000 days), is divided into 100 time steps of 10 days each. Velocity components at any point of the flow field are used to calculate particle displacement during each time step.

In order to model pollution of a well W, we use the following criterion: if the line segment that simulates the displacement of a pollutant particle P during time step Δt, intersects the hypothetical circular security zone of W, then we consider that P has arrived at W (Katsifarakis & Latinopoulos, 1995). The radius of the ‘security zone’ of each well is considered proportional to Rw, namely to the radius of the aquifer’s cylindrical volume, which contains the water pumped by well W during one time step:

(1)

where Qw is well’s flow rate, n aquifer’s porosity and α aquifer’s thickness.

Figure 1. Theoretical flow field with checkpoints’ trajectories of best solution of the simplified problem, aiming at minimization of pumping cost only. Magnified view of each plume on the right.

TABLE 1. Characteristics of wells, fractures and plumes.

| Object | x-coord (m) | y-coord (m) | Radius (m) | Object | x-coord (m) | y-coord (m) | Length (m) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Well 1 | 753.275 | 1373.927 | 0.25 | Fracture 1 Start | 645.561 | 1605.924 | 70 |
| Well 2 | 1451.369 | 1237.570 | 0.25 | Fracture 1 End | 688.038 | 1662.313 |  |
| Plume 1 | 510.893 | 1878.212 | 50 | Fracture 2 Start | 1508.571 | 971.469 | 50 |
| Plume 2 | 1673.430 | 683.058 | 60 | Fracture 2 End | 1525.572 | 924.448 |  |

Our tests have shown that values for the security zone radius rw equal to RW / 4 for the existing wells and to RW/8 for the additional wells lead to accurate results. As far as the fractures’ simulation is concerned, two assumptions, both on the safety side are made: a) The length of each fracture is increased by 10%. b) When pollutant particle arrives at a fracture, it spreads instantaneously along it, triggering 5 additional checkpoints, initially placed symmetrically along the polluted fracture. A fracture is considered to be polluted when it is intersected either by a checkpoint’s trajectory, or by the pollution front, defined by the line segments between adjacent checkpoints.

3. GENETIC ALGORITHMS – OBJECTIVE FUNCTION

Genetic algorithms (GAs) are based on the Darwinian theory of the survival of the fittest, imitating mathematically the biological process of evolution of species. Initially introduced by Holland (1975), the method is already a well established mathematical tool, very efficient in optimization problems when objective functions exhibit many local optima or discontinuous derivatives (e.g. Goldberg, 1989). We have adopted the classical binary representation of the chromosomes (namely of potential problem solutions). In our case each chromosome represents the coordinates and flow rates of the additional wells and the flow rate of one of the existing wells. The genetic operators used are selection (the tournament procedure, including an elitist approach), crossover and mutation/antimetathesis (Katsifarakis and Karpouzos, 1998). The following GA parameter values are used: population size PS=60, number of generations NG=1500, selection constant KK=3, crossover probability CRP between 0.40 and 0.60, mutation probability MP between 0.01 (=1/SL, where SL is the chromosome string length) and 0.028. Optimization of the pumping scheme, in our case, implies minimization of the following cost FV:

(2)

where VB1=pumping, VB2=pipe network amortization and VB3=pumped polluted water remediation costs. Moreover a penalty is also incorporated to the evaluation procedure, if the pumping scheme results in pollution of the existing wells.

3.1 Pumping Cost and Penalty function

Pumping is probably the main cost item in groundwater management problems (e.g. Sidiropoulos and Tolikas, 2008; Kalwij and Peralta, 2008). In our case it is calculated as:

(3)

where A is a pumping cost coefficient, that depends on the density of the pumped fluid, the electricity cost per kWh, pump efficiency and the pumping duration (here A=6.48), TNW=total number of wells, Qi=flow rate of well i in l/s, si=hydraulic head level drawdown at well i,.

To this cost a penalty (PEN) should be added, if the pumping scheme results in pollution of an existing well. We have opted for a PEN depending both on the number of violated constraints (number of pollution particles arriving at existing wells) and on the magnitude of the violation (time step of pollution of existing wells):

(4)

where NP1=number of checkpoints that pollute an existing well, PC=constant part of the Penalty function (for each polluting checkpoint), PV=coefficient of the variable part of the Penalty function, TP=number of time steps (here TP=100), ti=time step during which pollution arrives at well i. The complexity of the evaluation process lies with the calculation of PEN.

We have tested many sets of PC and PV values, in order to find the minimum Penalty Function that will deliver a penalty-free best solution at least in the last generation. Large PC-PV values will deliver a penalty-free best solution, but they may obscure the actual optimization process. The PC/PV ratio is set to 10/1 in all scenarios, trying to blend the impact of straight forward, blind degradation of a solution just for violating the constraints with the more sophisticated variable part of the penalty that is proportional to the magnitude of the violation. Obviously, in cases where PEN>0, its value can range from PC to NP[PC+PV(TP-1)].

3.2 Pipe Network Cost (VB2)

VB2 actually represents the pipe network amortization cost (e.g. Katsifarakis et al, 2006), which is directly proportional to the initial network cost. The latter depends on the total length and diameter of the pipes that carry pumped water from the additional wells to a central pumping station, located, in our case, close to the boundaries of the flow field, as shown in Figure 2 (XST=1400m, YST=2500m). Network construction cost is taken as 45 €/m and 60 €/m for small and large pipe diameters, respectively. The threshold is set at Q=50 l/s, since pipe diameter is selected according to the flow rate. For a theoretical amortization period of 10 years and an interest rate of 5%, the amortization cost is Aa1=6 €/m and Aa2=8 €/m for small and large pipe diameters, respectively. Thus, VB2 is calculated as:

(5)

where NADW=number of additional wells, Aai=either Aa1 or Aa2 (if Qi is larger or smaller than 50l/s, respectively) and Li=length of the pipe that carries water away from well i.

Figure 2. a) Best solution for combined problem (VB1+VB2=MIN), b) magnified view of Plume 2 checkpoints being pumped by additional Well 3 after having polluted Fracture 2.

Given the well coordinates, the task is to produce the shortest tree type pipe network, connecting the wells to the central station and to calculate the flow rate QLi through each pipe i, in order to select the proper Aai value. The wells are labeled according to their distance from the station. Label of the most distant well is set equal to 1. Thus, to find the shortest Li from well i, only wells with larger label values are checked. Moreover, QLi calculations start from the most distant well and proceed following increasing label order.

3.3 Pumped Polluted Water Remediation Cost (VB3)

VB3 is calculated similarly to the Penalty function, except for the fact that the variable part depends on the value of the respective additional well’s flow rate, too:

(6)

where NP2 is the number of checkpoints that pollute an additional well, VC the constant part of VB3 (for each polluting checkpoint), VV the coefficient of the variable part of VB3 and Qi the flow rate of the additional well that pumps checkpoint i. The values of VC and VV can vary, depending on the pollutant. High values of the two variables imply a pollutant of a high water treatment cost, while low values imply low treatment cost. The VC/VV ratio is set to 10/1, similarly to the PC/PV ratio, trying to scale the constant part of VB3 that represents the standard (installation) costs, to the variable part, which represents the operational costs. If VV exceeds a certain value (and given the VC/VV ratio) the minimization process of combined costs (VB1+VB2+VB3) leads to solutions that avoid pollution of the additional wells (VB3=0). In this case the additional wells are only used for hydrodynamic control of the plume checkpoints’ trajectories, either by delaying or diverting their advective transport. Obviously, if VB3>0, its value can range from VC to NP2[VC+VVQMAX(TP-1)], where QMAX is the maximum allowed flow rate of an additional well (here 120 l/s).

4. SIMULATIONS – RESULTS

4.1 Minimization of pumping cost only (VB1=MIN), CRP-MP investigation

An extended set of test runs, investigating CRP and MP values for the simplified problem, leads to the proposed pumping scheme of Figure 1 and to interesting conclusions, partially deviating from established views regarding MP values (Figure 3). We have performed 10 runs for every CRP-MP combination, in order to produce a satisfactory statistical sample of solutions. The computational volume required for the whole set of test runs was enormous. The evaluation function has been calculated 279 million times and the total computational time needed was approximately 156 days (Intel Core i5 CPU 660 at 3.33 GHz, 4GB of RAM, OS Windows 7, Visual Basic 6.0). The absolute best solution (MIN FV) of all test runs, showcased in Figure 1, is achieved for CRP=0.06 and MP=0.018. Overall, the CRP value demonstrating higher probability of achieving the lowest FV values is CRP=0.42 and the respective MP value is MP=0.024. The two, contradicting at first, observations confirm the stochastic nature of genetic algorithms, but led us to the crude assumption that values CRP>0.40 and MP>0.020 are more likely to achieve optimal performance for the algorithm. As far as the Penalty is concerned, values PC=100 and PV=10 manage to achieve minimum pumping cost.

Figure 3. FV5% perc. in relation to CRP and MP values for the 1st problem. Each value’s symbol and color opacity denote the quarter it belongs to (FV5% perc. is the lower 5% percentile of FV MIN).

4.2 Combined minimization of pumping and pipe network costs (VB1+VB2=MIN)

The 2nd set (VB1+VB2=MIN) includes test runs with a smaller range of CRP-MP values (broken-line rectangle of Figure 3). The evaluation function has been calculated 81 million times. The absolute best solution (MIN FV) of all test runs, showcased in Figure 2, was achieved for CRP=0.50 and MP=0.022. In this problem, the Penalty applied to solutions violating constraints had to be 15 times higher than the previous simulation, namely PC=1500 and PV=150.

4.3 Combined minimization of all costs (VB1+VB2+VB3=MIN)

The 3rd set includes test runs with a smaller but efficient range of CRP-MP values (solid-line rectangle of Figure 3), saving computational time. The evaluation function has been calculated 10.8 million times. There are two sets of test runs, one for a low-cost polluted water treatment (scenario 1) and another for a high-cost one (scenario 2). In the 1st scenario, MIN FV (Figure 4) is achieved for CRP=0.40 and MP=0.024. The Penalty induced in solutions violating constraints is PC=4000 and PV=400, while VC=10 and VV=1. In the 2nd scenario, MIN FV (Figure 5) is achieved for CRP=0.42 and MP=0.022, while PC=45000, PV=4500, VC=200 and VV=20. The series of test runs produce different kinds of solutions, not only algebraically, but in terms of different concepts, too. Different solutions suggest different types of flow profiles. All profiles are studied and grouped by means of certain criteria. The general placement of additional wells, the pollution or not of fractures, the pollution or not of additional wells and the type of trajectories generated are used as classification criteria. For both scenarios, and out of 120 runs for each, we have identified 14 distinct profiles.

Figure 4. a) Best solution for complex problem (VB1+VB2+VB3=MIN), low cost treatment pollutant, b) magnified view of Plume 1 checkpoints, pumped by an additional well, c) detail of b.

In scenario 1, the trend is to use 2 additional wells of low flow rates (low VB1) with at least one, pumping part of the pollution (VB3>0). The dominant concept seems to be: pump one plume and divert the course of the other, bypassing the intermediate fracture that would spread the pollution. The first is succeeded by direct pumping of one plume by at least one additional well and the second by the appropriate distribution of total flow rate to the existing wells and sometimes by the influence of the 2nd additional well, too. As expected, solutions where Plume 1 is the one pumped, exhibit lower FV, since Fracture 1 is more difficult to be bypassed, due to its orientation and its smaller distance from the respective plume.

On the other hand, in scenario 2, the algorithm tends to use 2 additional wells of considerable flow rates (high VB1), that do not pump polluted water (VB3=0). The concept here is: control one plume’s spreading with both additional wells by trying to counterbalance the influence of the existing wells, diverting the checkpoints’ course away from the intermediate fracture and divert the course of the other plume as well. For reasons similar to those of the previous scenario, lower FV values entail hydrodynamic control of Plume 1 by the additional wells, which are now placed on the other side of that plume with regard to the existing pumping scheme. In this way, the plume spreads out in all directions, instead of being directed towards existing wells and intersected by additional ones.

Figure 5. Best solution for simulation 3 (VB1+VB2+VB3=MIN), high cost pollutant treatment.

Figure 6 presents some qualitative sketches of the flow profiles depicting the proposed solutions for low cost treatment cases (Figure 6a to 6d) and for high cost ones (Figure 6e to 6h). In the 1st case, “a”, “b” and “c” are the 3 profiles linked to the lowest FV values respectively (Figure 4 solution’s profile is an “a”). But their ranking, concerning their frequency of appearance, is 2, 7 and 4. The most frequent profile appearing in the algorithm output is “d” (Figure 6d), that has a ranking, concerning lowest FV value, equal to 5. In the 2nd case, “e”, “f” and “g” are the 3 profiles linked to the lowest FV values respectively (Figure 5 solution’s profile is an “e”). Their ranking, concerning their frequency of appearance, is 2, 5 and 12. The most frequent profile appearing in the algorithm output is “h” (Figure 6h), that has a ranking, concerning lowest FV value, equal to 6. These different profiles show that there is a substantial number of different good solutions, exhibiting similar fitness values. Their identification can be considered as an asset of the method of genetic algorithms.

Figure 6. Flow profiles’ sketches of best solutions (a, b, c for low and e, f, g for high cost treatment pollutants) and most frequent one (d for low and h for high cost treatment pollutants).

Evaluating the first scenario best solution flow profile (Figure 4 and Figure 6a), it is obvious that the solution is rather unrealistic, since it entails construction of 2 wells of low flow rates so close together (especially when the one most distant from the plume exhibits Q<1 l/s). Figure 4c demonstrates a partial failure of the moving point technique, namely unrealistic linear displacements of the plume’s checkpoints close to the additional wells, which is due to their small flow rate that entails small security zone rw. This problem can be avoided, if a lower threshold value is introduced for rw. The overall accuracy can be also increased by a finer discretization ((e.g. 1000 time steps of 1 day)

In an attempt to investigate further the best solution’s pumping scheme, we have run the simulation model using a finer discretization. All the checkpoints were then pumped by the well closest to the plume (Well 4). When the more distant well was removed from the scheme the solution remained the same. Thus, we can accept that the concept of the proposed solution is correct and actually can work with one well, which means even less overall cost than the one calculated.

5. DISCUSSION AND CONCLUSIONS

Efficient use of GAs presupposes adequate population size and number of generations. In order to keep total computational volume under control, some simplification of the evaluation process (in our case flow and mass transport models) is required. Such simplifications may raise questions regarding the accuracy of the overall results. For this reason we have adopted certain safety counter-measures, such as the virtual lengthening of the fractures and the instant spread of pollutants along them. Increase of pollutant’s deactivation period could be also adopted, since pollutant dispersion has not been taken into account.

The quality of the results is also influenced by the GA parameters, such as crossover and mutation probability, and the coefficients of the penalty function, too. For this reason we have undertaken an extensive set of tests, to identify the best combination. Our results did not verify the practical rule of setting MP equal to 1/SL. The best fitness values were achieved with MP>0.02, while 1/SL=0.01 namely about the half. Finally, the importance of an a-posteriori check of the results of the optimization process has been stressed, which might eliminate unpractical features of the respective solutions.

Future research includes implementation of a separate additional wells’ construction cost in the evaluation function, to avoid profiles such as 6c and direct GAs to the realistic equivalent solution instead. Moreover, the study of a brief additional well’s pumping sudden failure incident can be studied, in order to stress test the existing solution profiles and conclude on their fail-safe attributes. A standard failure scenario can then be introduced to the evaluation function to raise the safety standards of the proposed solutions.

REFERENCES

- Bear J. (1979) ‘Hydraulics of Groundwater’, McGraw-Hill.

- Goldberg D.E. (1989) Genetic algorithms in search, optimization and machine learning, Addison-Wesley Publishing Company: Reading Massachusetts.

- Holland J. (1975) ‘Adaptation in Natural and Artificial Systems’, Univ. Michigan Press.

- Katsifarakis K.L., M. Mouti and K. Ntrogkouli (2009) ‘Optimization of groundwater resources management in polluted aquifers’, Global Nest, Vol 11(3), pp. 283-290.

- Katsifarakis K.L. and P. Latinopoulos (1995) ‘Efficient Particle Tracking through Internal Field Boundaries in Zoned and Fractured Aquifers’, Proc. Int. Conf. WATER POLLUTION III, eds. L.C. Wrobel and P. Latinopoulos, Porto Carras, Greece, 1995.

- Kontos Y., M. Katirtzidou, M. Kizeridou and K.L. Katsifarakis (2010) ‘Optimal management of a polluted fractured aquifer, using genetic algorithms’, Proc. of Int. Conf. International Symposium on Environmental Hydraulics VI, eds. G. Christodoulou and A. Stamou, Athens, Greece, 2010.

- Kalwij I.M. and R.C. Peralta (2008) ‘Non-adaptive and adaptive hybrid approaches for enhancing water quality management’, Journal of Hydrology, 358(3-4), pp. 182-192.

- Long J.C.S, J.S. Remer, C.R. Wilson and P.A. Witherspoon (1982) ‘Porous media equivalents for networks of discontinuous fractures’, Water Resources Research, Vol. 18, pp. 645-658.

- Papadopoulou M.P., E.A. Varouchakis, and G.P. Karatzas (2010), “Terrain Discontinuities Effects in the Regional Flow of a Complex Karstified Aquifer”, Environmental Modeling and Assessment, Vol. 15(5), 319-328, 2010.

- Sidiropoulos E. and P. Tolikas (2008) ‘Genetic algorithms and cellular automata in aquifer management’, Applied Mathematical Modelling, Vol. 32(4), pp. 617-640.

- Snow D. (1965) ‘A parallel plate model of fractures permeable media’, Ph.D. thesis, Univ. of Calif., Berkeley.